5/F7	Record form FOR defective work
Job no:		Job title:			
Record of defective work	
Date	Item	Contractor notified
(date)	Value if
deducted
(£)	Cleared (date)	
1.8.19	Priming to some steelwork	2.8.19		2.9.19	
	unsatisfactory				

16.9.19	Nosing to boiler house steps not	16.9.19		11.10.19	
	satisfactory, shuttering poor				

					

					

					

					

					

					

					

					

1.	Describe the work in sequence of work element/location; condition as rejected; rectification required.
2.	Check and update this record regularly with clerk of works and design team.
3.	Notify cost consultant of any values deducted against valuations made and when items are cleared.
4.	Check against and coordinate with your site inspection reports.